# HOW TO USE AN AED

- Call 911

- Turn on the AED and follow the visual and/or audio prompts.

- Open or cut the person's shirt to expose bare skin. If the person's chest is wet, dry it.

- AEDs have sticky pads with sensors called electrodes. Apply the electrode pads to the person's chest as pictured on the AED pad package.

- The AED will then start to analyze the patient and check to see if a shock is needed.

- If a shock is needed, the AED will instruct you stop touching the patient and move clear.

- If it is an automatic AED, the AED will then shock the patient. If it is a Semi-Automatic AED, it will tell you to push the shock button if a shock is needed.

- Begin CPR after delivering the shock. Or, if no shock is advised, begin CPR. Perform 2 minutes (about 5 cycles) of CPR and continue to follow the AED's prompts. If you notice obvious signs of life, discontinue CPR and monitor breathing for any changes in condition.