# Prepare Your Campus for Winter

SIA districts have experienced large storm-related losses in recent years that could have been avoided with a little preventative maintenance. To reduce loss, we recommend the following:

- Check roofs

  - Check for evidence of leaks

  - Look for standing water, bubbles, or tears and cracks in roof covers

  - Check parapet walls with your hands for bounce back. Walls should be solid, not spongey.

  - Check for gaps or broken roof flashing

  - Clear debris on roofs and in gutters and downspouts

  - Check gutters and downspouts for leaks and ensure they are secure to the building

  - Consider fresh coats of paint for weather proofing help

  - Have a plan to respond to roof leaks

    - Stock any necessary repair materials

    - Review tasks and responsibilities with staff

- Visually check all storm drains and pipes for debris. Leaves, garbage and other materials blocking our drainage systems can back up water and destroy floors and walls.

- Check shade structures and storage areas to ensure they are secure to prevent wind damage.

- Check electrical

  - Develop a plan for an electrical failure

  - Review the correct way to turn off electrical hazards in flooding zones.

- Visually inspect window seals

- Ensure that emergency equipment has been serviced and is properly fueled and lubricated.

  - Emergency equipment may include backup generators, wet vacs, sump pumps

- Trim overhanging trees. Remove dead trees or dead limbs.

- If you have pipes that are exposed to cold air, interior and exterior, make sure they are fitted with proper insulation.

- Winterize sprinkler systems according to the manufacturer’s recommendations. Blowing out excess water with a compressor may be the best way to prevent frozen and broken pipes.

A little preventative maintenance now can save your district thousands of dollars in deductibles and future contributions to the SIA pool.