Schools Insurance Authority

Storm Water Monitoring Inspection and Sampling Checklist

2024/2025 Monitoring Year

District:  ____________________________________

- All inspections and reports are to be submitted through SMARTS

- Each district to collect a semi-annual storm water sample (total of 2/year – unless you have Sample Frequency Reduction [SFR])

- Non-storm water discharge inspections conducted monthly (12 total)

- Storm water discharge inspections conducted when storm water samples are collected

|  | Date | Time | Initials | Notes/Observations |
| --- | --- | --- | --- | --- |
| July |  |  |  |  |
| August |  |  |  |  |
| September |  |  |  |  |
| October |  |  |  |  |
| November |  |  |  |  |
| December |  |  |  |  |
| January |  |  |  |  |
| February |  |  |  |  |
| March |  |  |  |  |
| April |  |  |  |  |
| May |  |  |  |  |
| June |  |  |  |  |

Sampling:

- Qualifying storm event (QSE) = produces discharge in at least one drainage area and is preceded by 48 hours with no discharge

- Collect sample within 4 hours of start of discharge during normal work hours or start of facility operations if the QSE occurs within the previous 12-hour period

- Upload storm water analytical reports within 30 days of receiving final report

|  | Date | Time | Field pH reading | Notes/Observations |
| --- | --- | --- | --- | --- |
| July - December |  |  |  |  |
| January - June |  |  |  |  |

Individual Annual Comprehensive Compliance Evaluation

____	Individual Annual Inspection submitted on SMARTS

2024/2025 Annual Report

____	Annual Report submitted on SMARTS

Reminders:

(1)  MONTHLY non-storm water observations – review BMPs and any non-storm water discharges

(2)  Stormwater sampling – describe aspects of water discharges; measure pH in field using litmus test strip; record pH value

(3)  Individual annual evaluations are performed near the end of the storm water monitoring year